# City of Anna

Bid Specifications

Roof Replacement – City Hall, City Garage & WWTP Electrical Building

The City of Anna is accepting bids from qualified individuals or companies for the replacement of the roofing system at the following locations:

City Hall located at 103 Market Street in Anna, Illinois

City Garage located at 105 Market Street in Anna, Illinois

Electrical Building at the Wastewater Treatment Plant at 1020 Lime Kiln Road in Anna, Illinois

GENERAL INFORMATION:

The City Hall is located at 103 Market Street in Anna, Illinois.  The roof is approximately 60’ x 90’ and has one (1) layer of asphalt shingles.

The City Garage is located at 105 Market Street in Anna, Illinois.  The roof is approximately 220’ x 60’ and has one (1) layer of asphalt shingles.

The Electrical Building at the Wastewater Treatment Plant is located at 1020 Lime Kiln Road in Anna, Illinois.  The roof is approximately 18’ x 24’ and has one (1) layer of asphalt shingles.

The contractor shall be responsible for removal of the existing roof and installation of a new dimensional asphalt shingle roof.  The contractor shall also be responsible to furnish all materials and perform all labor necessary for the completion of:

- To remove the existing roofing down to the decking

- To inspect the decking, and if necessary, immediately report any unseen damaged areas as well as remove, repair and/or replace any damaged areas

- To install a dimensional asphalt shingle roofing system to the manufacturer’s specifications

  - Install synthetic felt paper

  - Install ice and water where needed

  - Install drip edge, boots, and flashing

- All work to be completed in a workman like manner according to standard practices

- Upon completion work site should be free of all debris and the area should be canvassed with a magnet to ensure that the site is free from any loose debris

- The installation must be guaranteed for a minimum of five (5) years

- The finished roofing system must provide for the following minimum warranties:

  - Limited Lifetime Warranty

  - Wind Resistance Limited Warranty – 130 MPH

  - Algae Resistance Limited Warranty – 25 years

  - TRU Protection Non-Prorated Limited Warranty Period – 10 years

- Any unforeseen repairs found during the course of work that may result in an additional charge should be reported immediately for payment approval.

SITE QUESTIONS:

Questions relative to the proposed work should be directed to Jordan Chamness.  He can be contacted at the Anna City Hall located at 103 Market Street, Illinois or by telephone at (618) 833-8528.

PREVAILING WAGE:

This contract calls for the construction of a “public work”, within the meaning of the Illinois Prevailing Wage Act, 820 ILCS 130/.01 et seq. (“the Act”).  The Act requires contractors and subcontractors to pay laborers, workers and mechanics performing services on public works projects no less than the “prevailing rate of wages” (hourly case wages plus fringe benefits) in the county where the work is performed.  For information regarding current prevailing water rates, please refer to the Illinois Department of Labor’s website at http://www.state.il.us/agency/idol/rates/rates.HTM.  All contractors and subcontractors rendering services under this contract must comply with all requirements of the Act, including but not limited to, all wage, notice and record keeping duties.

LICENSE AND INSURANCE REQUIREMENTS:

The contractor shall be a Licensed Roofing Contractor in the State of Illinois. The contractor shall maintain, in full force, liability and workers compensation insurance to the standard city limitations for construction contracts not less than $1,000,000. A Certificate of Liability Insurance shall be attached hereto and become part of the contract.

RIGHT TO REFUSE BIDS:

The City retains the right to refuse any and all bids in which the City deems as unqualified or otherwise not in the best interest of the City of Anna.

BID SUBMITTAL

The Bid Form and any other required documents should be sealed in an envelope and submitted to the City of Anna, located at 103 Market Street, Anna, IL 62906 no later than 4:00 p.m. on Tuesday, June 17, 2025.  Envelopes should be clearly marked “Bid – Roof Replacement – City Hall & City Garage” on the outside.

BID:

I, __________________________________________, the bidding contractor do hereby agree to all said terms and conditions as stated above in the Bid Specifications.  Therefore, I respectfully submit the following:

- Removal and Replacement of Roofing System – City Hall, City Garage & Electrical Building at the WWTP

            - $______________________

      - Proposed start date - ________________________

_________________________________		_________________________

Bidder’s Signature					Date

Company Name: ___________________________________

Address: ___________________________________

City, State, Zip: ___________________________________

Phone: ___________________________________